LiftSeat Vertica Specifications

| Feature | Description |
| --- | --- |
| Power Assistance | Lowers the user smoothly from a standing position and raises them back up under power |
| Motion Type | True vertical up-and-down movement with no tilt during operation |
| Hand Control | Easy-to-use two-button controller for simple operation |
| Installation | Works over any standard toilet and guaranteed to fit most toilet spaces – no installation, ground fixing, or assembly required |
| Setup | Quick and easy to position with fully height-adjustable levelling feet |
| Seat Design | Elongated toilet opening for comfort and accessibility |
| Power Options | Available with rechargeable battery and mains power options |
| Independence | Enables users to toilet safely and independently or with reduced carer assistance |
| Safety Benefits | Raises and lowers smoothly to reduce the risk of falls and injuries |
| Dual Use | Can be used bedside with a drop-in commode bucket |
| Compatibility | Works over Geberit wash-dry toilets. The Vertica and Home Plus models also work over Clos-o-Mat wash-dry toilets |
| Models & Safe Working Load (SWL) | Vertica: 23 stone (145 kg) |
| Height Adjustment | Fully height adjustable with levelling feet. |
| Dimensions | Maximum height adjustable up to approx. 674 mm (26.5 in). See brochure for full dimensional details |